## Slide 1
An Introduction to Business Continuity Management

## Slide 2
Business Continuity
Business Resumption
Planning
Crisis Management /
Crisis Communications
Disaster Recovery
Planning
Crisis Management /
Crisis Communications
Business Continuity Basics
Notes: Business Continuity = Business Resumption Planning (including Crisis Management/Communications) + Disaster Recovery Planning (including Crisis Management/Communications)

## Slide 3
3
  Environmental
    Earthquake
    Drought
    Extreme heat
    Epidemics
    Tornado
  Process
    Human Error
    Breech of confidentiality
    Failed Business Strategies
    Single Points of Failure
    Fraud / Embezzlement
  Technology
    Backup media failure
    Computer Viruses
    Denial of service attacks
    High Number of Production Changes
  Man Made
    Pollution
    Terrorism
    Arson
    Building defects
    Labor Disputes
    Neighboring Business Risks
There are four general types of risks:
Assess & Analyze Continuity Risk Assessment
Notes: 3

## Slide 4
4
Assess & Analyze
Impact Analysis
Risk Assessment
Point
Of
Disaster
Responsive
(Recovery)
Proactive
(Controls)
Timeline
Post-Disaster
Timeline
Pre-Disaster
Notes: 4

## Slide 5
5
Strategy Examples – Data Center
Site Strategy | Recovery Time | Comments
Commercial Hot Site | 24 to 48 hours | Often the most cost effective strategy for data center recovery strategies. This is a market dominated by SunGard and IBM Global Services. Clear contract terms need to be .defined which meets service objectives. Consideration should be made for disasters which impact entire regions such as hurricanes and earthquakes.
Mobile Data Center / Office Space | 24 to 48 hours | Pre-configured mobile resources for data center or client workspace recovery. This approach avoids employee travel issues but has limitations on equipment availability and outbound bandwidth if very small aperture satellite terminal (VSAT) links must be used for communications. Businesses also typically assume that they can be placed in the parking lot of the affected site, so if the disaster profile includes events such as hurricanes, floods or toxic spills, these solutions may not be appropriate.
Internal Hot Site | 1 to 12 hours | This is typically the most expensive option since there is an added cost for internal provisioning of the necessary excess capacity. If costs can be shared among multiple facilities, internal provisioning can be cost competitive with commercial alternatives. In light of legislation such as Sarbanes –Oxley and the need for protection of sensitive information this is often the best solution. Organizations with strict data currency needs and aggressive recovery-time objectives have found internal hot-site strategies to be the only viable option. If no appropriate secondary space is available within existing property, hosting and “co-location” facilities providers offer managed raised-floor space at very attractive rates as an alternative to building out secondary sites.
Cold Site | 72 plus hours | "Environmentally appropriate" space can be either provisioned internally or contracted from a commercial facilities service provider. Cold-site strategies are usually based on "quick-ship" delivery agreements to allow server, storage, and communications hardware and network service providers to quickly build out the data center and/or client workspace infrastructure. In the case of an extensive disaster such as a hurricane or earthquake this option is less favorable
Reciprocal Site | 12 to 48 hours | This is typically a formal agreement between two trusted, non-competing partners in different industries in which each provides secure sites for the other. This option is the least favorable and has the greatest risk associated with it.
Source - http://www.txc.com.tw/business/02.html
Notes: 5

## Slide 6
6
Risk & Recovery strategies are implemented throughout the organization…then
Document a continuity plan that focuses on accomplishing specific objectives through a set of action steps that follow proven recovery methodologies.
The plan’s documented procedures are the “how-to” steps that are to be executed for business and IT recovery, in the event of an interruption.
The documented plans are designed to
enable management to understand the decisions that need to be made and the timeline in which they should be made in order to manage the crisis or disaster
guide the recovery of business and IT processes within the stated objectives
direct the restoration functions necessary to bring the organization “back home.”
Implement & Document
Notes: 6

## Slide 7
7
Structured Walk-Through
Team members meet to verbally walk through the specific steps of each component of the process as documented in the plan.
Checklist Testing
Determines if sufficient supplies are stored at the backup site, telephone number listings are current, quantities of forms are adequate, and a copy of the plan and necessary operational manuals are available. The recovery team reviews the plan and identifies key components that should be current and available.
Simulation Testing
Simulate a disaster so normal operations will not be interrupted. A scenario should take into consideration the purpose of the test, objectives, type of test, timing, scheduling, duration, test participants, assignments, constraints, assumptions, and test steps. Testing can include the notification procedures, temporary operating procedures, and backup and recovery operations. The following elements should be thoroughly tested: hardware, software, personnel, data and voice communications, procedures, supplies and forms, documentation, transportation, utilities (power, air conditioning, heating, ventilation), and alternative site processing.
Parallel Testing
Historical transactions, such as yesterday’s transactions, are processed against the preceding day’s backup files at the contingency processing site or hot-site. All reports produced at the alternate site for the current business date should agree with those reports produced at the existing processing site.
Full-interruption Testing
Activate the total disaster recovery plan. This test is costly and could disrupt normal operations. Therefore, it should be approached with caution.
Initially, this type of test should not be scheduled at critical points in the normal processing cycle, such as the end of the month. The duration of the test should be predetermined to measure adequate response time.
Various test scenarios could be planned to identify the type of disaster, the extent of damage, recovery capability, staffing and equipment availability, backup resource availability, and time/duration of the test. The test plan should identify the persons responsible and the time they need to perform each activity. Eventually, unannounced tests can be performed to emphasize preparedness.
Validate & Maintain – Types of Exercises/Tests
Source - http://www.drj.com/drworld/content/w1_025.htm
Notes: 7